## Results
ASHRAE Std. 140 results for: | [5 empty] | Software Name: |  | EnergyGauge USA 6.0
User input data fields indicated by pale yellow
Test result fields indicated by pale green
Annual Heating Loads: Colorado Springs, CO | [6 empty] | Annual Heating Load deltas: Colorado Springs, CO
| Heating | range max | range min | Result | pass/fail |  |  | Heating | range max | range min | Result | pass/fail
| L100AC | 79.4781 | 48.7472 | 55.74 | pass |  |  | L110AC-L100AC | 28.122 | 19.365 | 21.35 | pass
| L110AC | 103.9929 | 71.8838 | 77.09 | pass |  |  | L120AC-L100AC | -7.67 | -18.568 | -12.98 | pass
| L120AC | 64.2979 | 37.8248 | 42.76 | pass |  |  | L130AC-L100AC | -5.9656 | -27.4991 | -10.17 | pass
| L130AC | 53.979 | 41.822 | 45.57 | pass |  |  | L140AC-L100AC | -4.561 | -24.4217 | -7.44 | pass
| L140AC | 56.481 | 43.243 | 48.3 | pass |  |  | L150AC-L100AC | -3.02 | -12.527 | -6.37 | pass
| L150AC | 71.3277 | 40.9537 | 49.37 | pass |  |  | L155AC-L150AC | 6.878 | -1.54 | 2.24 | pass
| L155AC | 74.1847 | 43.5293 | 51.61 | pass |  |  | L160AC-L100AC | 5.097 | -3.717 | 1.83 | pass
| L160AC | 80.9969 | 48.7751 | 57.57 | pass |  |  | L170AC-L100AC | 17.639 | 7.12 | 13.54 | pass
| L170AC | 92.4024 | 61.0296 | 69.28 | pass |  |  | L200AC-L100AC | 107.6626 | 56.3904 | 76.99 | pass
| L200AC | 185.8721 | 106.4063 | 132.73 | pass |  |  | L202AC-L200AC | 9.94 | -0.5093 | 8.49 | pass
| L202AC | 190.0523 | 111.3245 | 141.22 | pass |  |  | L302XC-L100AC | 14.501 | -3.295 | -0.17 | pass
| L302XC | 90.5208 | 52.6608 | 55.57 | pass |  |  | L302XC-L304XC | 17.746 | 5.66 | 8.48 | pass
| L304XC | 75.3156 | 43.9129 | 47.09 | pass |  |  | L322XC-L100AC | 39.29 | 15.712 | 17.6 | pass
| L322XC | 118.2048 | 68.347 | 73.34 | pass |  |  | L322XC-L324XC | 38.2674 | 20.2099 | 24.95 | pass
| L324XC | 80.0391 | 44.0107 | 48.39 | pass
Annual Cooling Loads: Las Vegas, NV | [6 empty] | Annual Cooling Load deltas: Las Vegas, NV
| Cooling | range max | range min | Result | pass/fail |  |  | Cooling | range max | range min | Result | pass/fail
| L100AL | 64.8796 | 50.66 | 54.64 | pass |  |  | L110AL-L100AL | 7.839 | -0.976 | 2.11 | pass
| L110AL | 68.5021 | 53.7 | 56.75 | pass |  |  | L120AL-L100AL | 0.68 | -8.666 | -5.57 | pass
| L120AL | 60.137 | 47.34 | 49.07 | pass |  |  | L130AL-L100AL | -13.71 | -24.401 | -16.1 | pass
| L130AL | 45.262 | 32.95 | 38.54 | pass |  |  | L140AL-L100AL | -27.14 | -38.675 | -29.13 | pass
| L140AL | 30.543 | 19.52 | 25.51 | pass |  |  | L150AL-L100AL | 20.549 | 8.715 | 16.1 | pass
| L150AL | 82.3308 | 62.4072 | 70.74 | pass |  |  | L155AL-L150AL | -9.64 | -22.292 | -14.22 | pass
| L155AL | 63.06 | 50.08 | 56.52 | pass |  |  | L160AL-L100AL | 12.279 | 3.88 | 9.71 | pass
| L160AL | 72.9851 | 58.61 | 64.35 | pass |  |  | L170AL-L100AL | -4.83 | -15.74 | -11.42 | pass
| L170AL | 53.307 | 41.83 | 43.22 | pass |  |  | L200AL-L100AL | 21.392 | 6.6326 | 12.96 | pass
| L200AL | 83.429 | 60.247 | 67.6 | pass |  |  | L200AL-L202AL | 14.863 | 2.0347 | 12.35 | pass
| L202AL | 75.9614 | 52.3213 | 55.25 | pass

## Plot_data (hidden)
Chart plot data
Chart 1 | L100AC | L110AC | L120AC | L130AC | L140AC | L150AC | L155AC | L160AC
max | 79.4781 | 103.9929 | 64.2979 | 53.979 | 56.481 | 71.3277 | 74.1847 | 80.9969
min | 48.7472 | 71.8838 | 37.8248 | 41.822 | 43.243 | 40.9537 | 43.5293 | 48.7751
avg | 64.1127 | 87.9383 | 51.0613 | 47.9005 | 49.862 | 56.1407 | 58.857 | 64.886
result | 55.74 | 77.09 | 42.76 | 45.57 | 48.3 | 49.37 | 51.61 | 57.57
Chart 2 | L170AC | L200AC | L202AC | L302XC | L304XC | L322XC | L324XC
max | 92.4024 | 185.8721 | 190.0523 | 90.5208 | 75.3156 | 118.2048 | 80.0391
min | 61.0296 | 106.4063 | 111.3245 | 52.6608 | 43.9129 | 68.347 | 44.0107
avg | 76.716 | 146.1392 | 150.6884 | 71.5908 | 59.6143 | 93.2759 | 62.0249
result | 69.28 | 132.73 | 141.22 | 55.57 | 47.09 | 73.34 | 48.39
Chart 3 | L110AC-L100AC | L120AC-L100AC | L130AC-L100AC | L140AC-L100AC | L150AC-L100AC | L155AC-L150AC | L160AC-L100AC
max | 28.122 | -7.67 | -5.9656 | -4.561 | -3.02 | 6.878 | 5.097
min | 19.365 | -18.568 | -27.4991 | -24.4217 | -12.527 | -1.54 | -3.717
avg | 23.7435 | -13.119 | -16.7323 | -14.4913 | -7.7735 | 2.669 | 0.69
result | 21.35 | -12.98 | -10.17 | -7.44 | -6.37 | 2.24 | 1.83
Chart 4 | L170AC-L100AC | L200AC-L100AC | L202AC-L200AC | L302XC-L100AC | L302XC-L304XC | L322XC-L100AC | L322XC-L324XC
max | 17.639 | 107.6626 | 9.94 | 14.501 | 17.746 | 39.29 | 38.2674
min | 7.12 | 56.3904 | -0.5093 | -3.295 | 5.66 | 15.712 | 20.2099
avg | 12.3795 | 82.0265 | 4.7154 | 5.603 | 11.703 | 27.501 | 29.2387
result | 13.54 | 76.99 | 8.49 | -0.17 | 8.48 | 17.6 | 24.95
Chart 5 | L100AL | L110AL | L120AL | L130AL | L140AL | L150AL
max | 64.8796 | 68.5021 | 60.137 | 45.262 | 30.543 | 82.3308
min | 50.66 | 53.7 | 47.34 | 32.95 | 19.52 | 62.4072
avg | 57.7698 | 61.101 | 53.7385 | 39.106 | 25.0315 | 72.369
result | 54.64 | 56.75 | 49.07 | 38.54 | 25.51 | 70.74
Chart 6 | L155AL | L160AL | L170AL | L200AL | L202AL
max | 63.06 | 72.9851 | 53.307 | 83.429 | 75.9614
min | 50.08 | 58.61 | 41.83 | 60.247 | 52.3213
avg | 56.57 | 65.7975 | 47.5685 | 71.838 | 64.1413
result | 56.52 | 64.35 | 43.22 | 67.6 | 55.25
Chart 7 | L110AL-L100AL | L120AL-L100AL | L130AL-L100AL | L140AL-L100AL | L150AL-L100AL
max | 7.839 | 0.68 | -13.71 | -27.14 | 20.549
min | -0.976 | -8.666 | -24.401 | -38.675 | 8.715
avg | 3.4315 | -3.993 | -19.0555 | -32.9075 | 14.632
result | 2.11 | -5.57 | -16.1 | -29.13 | 16.1
Chart 8 | L155AL-L150AL | L160AL-L100AL | L170AL-L100AL | L200AL-L100AL | L200AL-L202AL
max | -9.64 | 12.279 | -4.83 | 21.392 | 14.863
min | -22.292 | 3.88 | -15.74 | 6.6326 | 2.0347
avg | -15.966 | 8.0795 | -10.285 | 14.0123 | 8.4488
result | -14.22 | 9.71 | -11.42 | 12.96 | 12.35

## Table 3-1 (hidden)
TABLE 3-1. HERS BESTEST Tier 1 Reference Results: Annual Heating and Cooling Loads
Colorado Spring, CO | [10 empty] | Las Vegas, NV
Annual Heating (MBtu/y) |  |  | SERIRES/ |  |  |  |  | 2.92 | Acceptance Criteria |  | Annual Cooling (MBtu/y) |  |  | SERIRES/ | [5 empty] | Acceptance Criteria
Case # | BLAST | DOE2 | SUNCODE | mean | max | min | stdev | 90%CI | + Range | - Range | Case # | BLAST | DOE2 | SUNCODE | mean | max | min | stdev | 90%CI | + Range | - Range
L100AC | 61.94 | 57.999 | 72.399 | 64.1127 | 72.399 | 57.999 | 7.4418 | 15.3655 | 79.4781 | 48.7472 | L100AL | 54.66 | 60.803 | 59.32 | 58.261 | 60.803 | 54.66 | 3.2055 | 6.6186 | 64.8796 | 50.66
L110AC | 85.93 | 81.364 | 96.521 | 87.9383 | 96.521 | 81.364 | 7.7755 | 16.0545 | 103.9929 | 71.8838 | L110AL | 57.7 | 63.827 | 63.159 | 61.562 | 63.827 | 57.7 | 3.3612 | 6.9401 | 68.5021 | 53.7
L120AC | 50.27 | 45.083 | 57.831 | 51.0613 | 57.831 | 45.083 | 6.4107 | 13.2366 | 64.2979 | 37.8248 | L120AL | 51.34 | 56.137 | 55.005 | 54.1607 | 56.137 | 51.34 | 2.5075 | 5.1773 | 60.137 | 47.34
L130AC | 46.34 | 45.822 | 49.979 | 47.3803 | 49.979 | 45.822 | 2.2654 | 4.6774 | 53.979 | 41.822 | L130AL | 36.95 | 41.262 | 38.919 | 39.0437 | 41.262 | 36.95 | 2.1587 | 4.4572 | 45.262 | 32.95
L140AC | 49.14 | 47.243 | 52.481 | 49.6213 | 52.481 | 47.243 | 2.652 | 5.4757 | 56.481 | 43.243 | L140AL | 23.52 | 26.543 | 24.645 | 24.9027 | 26.543 | 23.52 | 1.5279 | 3.1547 | 30.543 | 19.52
L150AC | 54.92 | 49.472 | 64.03 | 56.1407 | 64.03 | 49.472 | 7.3554 | 15.187 | 71.3277 | 40.9537 | L150AL | 67.72 | 77.352 | 72.035 | 72.369 | 77.352 | 67.72 | 4.8247 | 9.9618 | 82.3308 | 62.4072
L155AC | 57.38 | 52.283 | 66.908 | 58.857 | 66.908 | 52.283 | 7.4235 | 15.3277 | 74.1847 | 43.5293 | L155AL | 54.08 | 59.06 | 57.51 | 56.8833 | 59.06 | 54.08 | 2.5485 | 5.2619 | 63.06 | 50.08
L160AC | 62.88 | 58.282 | 73.496 | 64.886 | 73.496 | 58.282 | 7.8029 | 16.1109 | 80.9969 | 48.7751 | L160AL | 62.61 | 68.683 | 67.599 | 66.2973 | 68.683 | 62.61 | 3.239 | 6.6877 | 72.9851 | 58.61
L170AC | 73.06 | 71.638 | 85.45 | 76.716 | 85.45 | 71.638 | 7.5972 | 15.6864 | 92.4024 | 61.0296 | L170AL | 45.83 | 49.063 | 49.307 | 48.0667 | 49.307 | 45.83 | 1.9408 | 4.0074 | 53.307 | 41.83
L200AC | 133.9735 | 136.119 | 168.325 | 146.1392 | 168.325 | 133.9735 | 19.2434 | 39.7329 | 185.8721 | 106.4063 | L200AL | 65.7 | 73.102 | 76.712 | 71.838 | 76.712 | 65.7 | 5.6138 | 11.591 | 83.429 | 60.247
L202AC | 137.4642 | 142.059 | 172.542 | 150.6884 | 172.542 | 137.4642 | 19.0647 | 39.3639 | 190.0523 | 111.3245 | L202AL | 59.61 | 62.239 | 70.575 | 64.1413 | 70.575 | 59.61 | 5.7247 | 11.82 | 75.9614 | 52.3213
L302AC | 70.48 | 67.434 | 82.9 | 73.6047 | 82.9 | 67.434 | 8.1928 | 16.9161 | 90.5208 | 56.6886
L302BC | 65.25 | 60.124 | 73.104 | 66.1593 | 73.104 | 60.124 | 6.5376 | 13.4985 | 79.6579 | 52.6608
L304AC | 60.06 | 56.621 | 69.154 | 61.945 | 69.154 | 56.621 | 6.4756 | 13.3706 | 75.3156 | 48.5744
L304BC | 55.59 | 50.106 | 61.575 | 55.757 | 61.575 | 50.106 | 5.7363 | 11.8441 | 67.6011 | 43.9129
L322A1C | 91.66 | 88.269 | 105.937 | 95.2887 | 105.937 | 88.269 | 9.3763 | 19.3597 | 114.6484 | 75.9289
L322A2C | 92.5 | 86.326 | 107.689 | 95.505 | 107.689 | 86.326 | 10.994 | 22.6998 | 118.2048 | 72.8052
L322B1C | 81.82 | 77.714 | 92.383 | 83.9723 | 92.383 | 77.714 | 7.5676 | 15.6253 | 99.5976 | 68.347
L322B2C | 87.97 | 82.873 | 92.111 | 87.6513 | 92.111 | 82.873 | 4.6272 | 9.5541 | 97.2054 | 78.0972
L324A1C | 64.9 | 61.096 | 72.563 | 66.1863 | 72.563 | 61.096 | 5.8407 | 12.0596 | 78.246 | 54.1267
L324A2C | 65.02 | 60.307 | 73.472 | 66.2663 | 73.472 | 60.307 | 6.6704 | 13.7727 | 80.0391 | 52.4936
L324B1C | 56.57 | 50.378 | 62.437 | 56.4617 | 62.437 | 50.378 | 6.0302 | 12.4509 | 68.9126 | 44.0107
L324B2C | 60.4 | 51.879 | 65.3 | 59.193 | 65.3 | 51.879 | 6.7914 | 14.0226 | 73.2156 | 45.1704
L302XC | [8 empty] | 90.5208 | 52.6608
L304XC | [8 empty] | 75.3156 | 43.9129
L322XC | [8 empty] | 118.2048 | 68.347
L324XC | [8 empty] | 80.0391 | 44.0107

## Table 3-2 (hidden)
Table 3-2. HERS BESTEST Tier 1 Reference Results: Annual Heating and Cooling Load Deltas
Colorado Spring, CO | [10 empty] | Las Vegas, NV
Delta Annual Heating (MBtu/y) |  |  | SERIRES/ |  |  |  |  | 2.92 | Acceptance Criteria |  | Delta Annual Cooling (MBtu/y) |  |  | SERIRES/ | [5 empty] | Acceptance Criteria
Case | BLAST | DOE2 | SUNCODE | mean | max | min | stdev | 90%CI | + Range | - Range | Case | BLAST | DOE2 | SUNCODE | mean | max | min | stdev | 90%CI | + Range | - Range
L110AC-L100AC | 23.99 | 23.365 | 24.122 | 23.8257 | 24.122 | 23.365 | 0.40437 | 0.83493 | 28.122 | 19.365 | L110AL-L100AL | 3.04 | 3.024 | 3.839 | 3.301 | 3.839 | 3.024 | 0.46599 | 0.96215 | 7.839 | -0.976
L120AC-L100AC | -11.67 | -12.916 | -14.568 | -13.0513 | -11.67 | -14.568 | 1.4537 | 3.0016 | -7.67 | -18.568 | L120AL-L100AL | -3.32 | -4.666 | -4.315 | -4.1003 | -3.32 | -4.666 | 0.69821 | 1.4416 | 0.68 | -8.666
L130AC-L100AC | -15.6 | -12.177 | -22.42 | -16.7323 | -12.177 | -22.42 | 5.2145 | 10.7667 | -5.9656 | -27.4991 | L130AL-L100AL | -17.71 | -19.541 | -20.401 | -19.2173 | -17.71 | -20.401 | 1.3744 | 2.8378 | -13.71 | -24.401
L140AC-L100AC | -12.8 | -10.756 | -19.918 | -14.4913 | -10.756 | -19.918 | 4.8095 | 9.9304 | -4.561 | -24.4217 | L140AL-L100AL | -31.14 | -34.26 | -34.675 | -33.3583 | -31.14 | -34.675 | 1.9323 | 3.9897 | -27.14 | -38.675
L150AC-L100AC | -7.02 | -8.527 | -8.369 | -7.972 | -7.02 | -8.527 | 0.82823 | 1.7101 | -3.02 | -12.527 | L150AL-L100AL | 13.06 | 16.549 | 12.715 | 14.108 | 16.549 | 12.715 | 2.121 | 4.3793 | 20.549 | 8.715
L155AC-L150AC | 2.46 | 2.811 | 2.878 | 2.7163 | 2.878 | 2.46 | 0.2245 | 0.46355 | 6.878 | -1.54 | L155AL-L150AL | -13.64 | -18.292 | -14.525 | -15.4857 | -13.64 | -18.292 | 2.4703 | 5.1006 | -9.64 | -22.292
L160AC-L100AC | 0.94 | 0.283 | 1.097 | 0.77333 | 1.097 | 0.283 | 0.43184 | 0.89163 | 5.097 | -3.717 | L160AL-L100AL | 7.95 | 7.88 | 8.279 | 8.0363 | 8.279 | 7.88 | 0.21305 | 0.4399 | 12.279 | 3.88
L170AC-L100AC | 11.12 | 13.639 | 13.051 | 12.6033 | 13.639 | 11.12 | 1.3178 | 2.721 | 17.639 | 7.12 | L170AL-L100AL | -8.83 | -11.74 | -10.013 | -10.1943 | -8.83 | -11.74 | 1.4635 | 3.0217 | -4.83 | -15.74
L200AC-L100AC | 72.0335 | 78.12 | 95.926 | 82.0265 | 95.926 | 72.0335 | 12.4161 | 25.6361 | 107.6626 | 56.3904 | L200AL-L100AL | 11.04 | 12.299 | 17.392 | 13.577 | 17.392 | 11.04 | 3.3633 | 6.9444 | 21.392 | 6.6326
L202AC-L200AC | 3.4907 | 5.94 | 4.217 | 4.5492 | 5.94 | 3.4907 | 1.258 | 2.5974 | 9.94 | -0.5093 | L200AL-L202AL | 6.09 | 10.863 | 6.137 | 7.6967 | 10.863 | 6.09 | 2.7422 | 5.662 | 14.863 | 2.0347
L302AC-L100AC | 8.54 | 9.435 | 10.501 | 9.492 | 10.501 | 8.54 | 0.98174 | 2.0271 | 14.501 | 4.54
L302BC-L100AC | 3.31 | 2.125 | 0.705 | 2.0467 | 3.31 | 0.705 | 1.3043 | 2.693 | 7.31 | -3.295
L302AC-L304AC | 10.42 | 10.813 | 13.746 | 11.6597 | 13.746 | 10.42 | 1.8175 | 3.7526 | 17.746 | 6.42
L302BC-L304BC | 9.66 | 10.018 | 11.529 | 10.4023 | 11.529 | 9.66 | 0.99201 | 2.0482 | 15.529 | 5.66
L322A1C-L100AC | 29.72 | 30.27 | 33.538 | 31.176 | 33.538 | 29.72 | 2.064 | 4.2616 | 37.538 | 25.72
L322A2C-L100AC | 30.56 | 28.327 | 35.29 | 31.3923 | 35.29 | 28.327 | 3.5553 | 7.3409 | 39.29 | 24.0514
L322B1C-L100AC | 19.88 | 19.715 | 19.984 | 19.8597 | 19.984 | 19.715 | 0.13565 | 0.28008 | 23.984 | 15.715
L322B2C-L100AC | 26.03 | 24.874 | 19.712 | 23.5387 | 26.03 | 19.712 | 3.364 | 6.9459 | 30.4845 | 15.712
L322A1C-L324A1C | 26.76 | 27.173 | 33.374 | 29.1023 | 33.374 | 26.76 | 3.7051 | 7.6502 | 37.374 | 21.4522
L322A2C-L324A2C | 27.48 | 26.019 | 34.217 | 29.2387 | 34.217 | 26.019 | 4.3728 | 9.0288 | 38.2674 | 20.2099
L322B1C-L324B1C | 25.25 | 27.336 | 29.946 | 27.5107 | 29.946 | 25.25 | 2.3529 | 4.8581 | 33.946 | 21.25
L322B2C-L324B2C | 27.57 | 30.994 | 26.811 | 28.4583 | 30.994 | 26.811 | 2.2285 | 4.6013 | 34.994 | 22.811
L302XC-L100AC | [8 empty] | 14.501 | -3.295
L302XC-L304XC | [8 empty] | 17.746 | 5.66
L322XC-L100AC | [8 empty] | 39.29 | 15.712
L322XC-L324XC | [8 empty] | 38.2674 | 20.2099