## v3.0 Results
RESNET HVAC Test Suite Results: | [5 empty] | Software Name: | EnergyGauge USA 6.0
User input data fields indicated by pale yellow
Test result fields indicated by pale green
Results
Cooling tests: | [6 empty] | Criteria
| Case | Cool | Cool Fan | Cool Tot | % change |  | min | max
| HVAC-1a | 5522 | 975 | 6497 | ---
| HVAC-1b | 4247 | 975 | 5222 | -19.62% |  | -21.24% | -17.38% | pass
Heating tests:
| Case | Heat | Heat Fan | Heat Tot | % change
| HVAC-2a | 845.1 | 659 | 86.7591 | ---
| HVAC-2b | 732.4 | 659 | 75.4891 | -12.99% |  | -13.3% | -11.57% | pass
| Case | Heat | Heat Fan | Heat Tot | % change
| HVAC-2c | 9996 | 1407 | 11403 | ---
| HVAC-2d | 7911 | 1076 | 8987 | -21.19% |  | -29.03% | -16.73% | pass
| HVAC-2e | 18083 | 989 | 19072 | 67.25% |  | 41.81% | 80.81% | pass
Plot Data: |  | HVAC-1b | HVAC-2b | HVAC-2d
| min | -21.24% | -13.3% | -29.03%
| max | -17.38% | -11.57% | -16.73%
| avg | -19.31% | -12.43% | -22.88%
| Result | -19.62% | -12.99% | -21.19%
HVAC-2e
| min | 41.81%
| max | 80.81%
| avg | 61.31%
| Result | 67.25%