## Result_data
DSE Test Suite Results |  |  |  |  | Software Name: | EnergyGauge USA 6.0
User input data fields indicated by pale yellow
Test result fields indicated by pale green
Results:
Base Cases |  | Heat/cool | Fan | Total | % change
| HVAC-3a | 742.3 | 581 | 76.2129 | --- |  | base for cases 3b - 3d
| HVAC-3e | 5583 | 987 | 6570 | --- |  | base for cases 3f - 3h
Criteria:
Test Cases |  | Heat/cool | Fan | Total | % change |  | max | avg | min | Pass/Fail
| HVAC-3b | 944.2 | 553 | 96.3074 | 26.37% |  | 31.4% | 26.4% | 21.4% | pass
| HVAC-3c | 788 | 573 | 80.7556 | 5.961% |  | 12.5% | 7.5% | 2.5% | pass
| HVAC-3d | 869.5 | 623 | 89.0763 | 16.88% |  | 25% | 20% | 15% | pass
| HVAC-3f | 7309 | 1296 | 8605 | 30.97% |  | 36.2% | 31.2% | 26.2% | pass
| HVAC-3g | 6033 | 1066 | 7099 | 8.052% |  | 16.5% | 11.5% | 6.5% | pass
| HVAC-3h | 7072 | 1242 | 8314 | 26.54% |  | 31.1% | 26.1% | 21.1% | pass